## Slide 1: Lesson 5
Review
2021-06-02

## Slide 2
1. What are the disadvantages of Non-Renewable energy? What are the advantages of Renewable? Please give some description.
Please list some renewable energy and describe the operation principles of the renewable energy.
Please draw the configuration of the wind turbine system and describe the operation principles of the wind turbine system.
Regarding to the wind turbine system, does the wind turbine generate more power if its rotating speed is higher?
What are the difference between the offshore wind farm and the land wind farm? Why it is attractive for us to develop offshore wind farm?

## Slide 3
Can you describe the configuration and the operation principle of the offshore wind farm?
Which one is more suitable for the offshore wind farm between permanent magnet synchronous generator (PMSG) and doubly fed induction generator (DFIG)? Please give some explanation.
What is the difference between the High-Voltage AC transmission and the High-Voltage DC transmission technology? Please give some description and explanation.
What is the difference between the AC based collection system and the DC based collection system for offshore wind farm.
How to achieve low-voltage ride-through of the wind turbine?

## Slide 4
11. How to realize the wind turbine connected to the grid with high voltage?
How to realize that the wind turbine connected to the dc grid? Can you draw the wind turbine system configuration?
What is the difference between the medium-frequency DC/DC transformer and the 50 Hz AC/AC transformer?
Can you draw several wind farm configuration and describe the characteristics of them?
What is the multiple terminal DC (MTDC) technology? What is the advantages of MTDC?

## Slide 5
16. Can you draw the configuration of point-to-point HVDC and describe the functions of the two voltage source converters in the HVDC system?
17. Can you draw the bipolar configuration of the HVDC system and several operation modes of bipolar HVDC system?
18. For the HVDC system based on conventional 2-level (or 3-level) voltage source converter, how to avoid overcurrent under dc-line short-circuit fault?
19. Can you describe the tolerant control of the bipolar HVDC system when one dc line does not work?
20. Can you draw the AC/DC modular multilevel converter configuration and describe its features?